BDX-30 Moisture Meter

##### Features

- Large, custom display with auto backlight - easy to read under all conditions

- Modern case design with large, tactile buttons and E-Z grip handle

- On-screen statistics for up to 100 readings saved to the meter

- High, Low, Average, Standard Deviation

- Measuring Range:

- Wood (Douglas Fir) 6%-60%

- Drywall 0.1%-6%

- Reference 1-100

- Wood temperature correction (°F / °C)

- Select from 37 wood species and materials

- Bluetooth® connectivity to EDGE® app

- Color-coded LED’s – adjustable through EDGE® app

- Alarm set point - alerts to user-selected MC level

- Internal calibration check

- "Low Batt" warning with audio

- Auto off timer. Set to 1m, 4m or 10m

- Compatible with all Delmhorst electrodes

##### Meter Specifications

- Power: 2x AA Alkaline batteries

- Temperature Correction Range: 0°-255°F (-18°-124°C)

- QR code on meter for easy access to support materials and meter registration

- Size: meter only 8.65in x 2.85in x 1.60in

- (21.97cm x 7.24cm x 4.06cm)

- Weight: meter only -  8.6 (244gm)

- Hard plastic carrying case included

- 2-year warranty on manufacturer’s defects. Bonus warranty with on-line registration

The Delmhorst EDGE® app

- Timestamp and geotag

- Data export to .csv format

- Save unlimited readings

- Customized LED ranges

The BDX-30, purchased individually, includes the BDX-30 meter, 324CAS-0111 carrying case, and two (2) spare 2498/A-100 pins.  Order as BDX-30W/CS

The Behind the Wall Package includes the BDX-30 meter, 324CAS-0112 carrying case, 21-E electrode, and two (2) spare 2498/A-100 contact pins.  Order as BDX-30/P01

The Wood Flooring Package includes the BDX-30 meter, 324CAS-0113 carrying case, 26-ES electrode, and ten (10) spare 496 insulated contact pins.  Order as BDX-30/P02

The Contractor’s Package includes the BDX-30 meter, 324CAS-0113 carrying case, 21-E electrode, 26-ES electrode, HP-1 hole punch, two spare 608/001 contact pins, and ten (10) spare 496 contact pins.  Order as BDX-30/P03