HTX-30 Thermo-Hygrometer

##### Features

- Large, custom display with auto backlight – easy to read under all conditions

- Modern case design with large, tactile buttons and E-Z grip handle

- On-screen statistics for up to 500 readings saved to the meter

  - High, Low, Average

- Measures:

  - Relative Humidity (%RH)

  - Temperature (°F / °C)

- Calculates

  - Vapor Pressure (PSI, kPa)

  - Mixing Ratio (GPP, GPK)

  - Dewpoint (°F / °C)

- Bluetooth® connectivity to EDGE® app

- Set Location Number (1-30)

- "Low Batt" warning with audio

- Auto timer.  Set to 1m, 4m or 10m

##### Meter Specifications

- Power: 2X AA Alkaline batteries

- Temperature Correction Range: 02-255°F (-18-124°C)

- QR code on meter for easy access to support materials and meter registration

- Size: meter only - 7.9in x 2.9in x 1.6in (20.07cm x 7.36cm x 4.06cm)

- Weight: meter only - 7.3oz (207gm)

- Hard plastic carrying case included

- RH/T-XE sensor included

- 2-year warranty on manufacturer's defects. Bonus warranty with on-line registration

The Delmhorst EDGE® app

- Timestamp and geotag

- Data export to .csv format

- Save unlimited readings

- Add notes to each location

- Designate readings to a location/room or dehumidifier

- View and filter all readings

The HTX-30, purchased individually, includes the HTX-30 with one RH/T-XE sensor, 324CAS-0114 carrying case and RH/T-C2 3’ extension cable.  Order as HTX-30W/CS

The HTX-30 Thermo-Hygrometer Package includes the HTX-30 with two RH/T-XE sensor, 324CAS-0114 carrying case and RH/T-C2 3’ extension cable.  Order as HTX-30/P01