JLX-30 Moisture Meter

##### Features

- Large, custom display with auto backlight – easy to read under all conditions

- Modern case design with large, tactile buttons and E-Z grip handle

- On-screen statistics for up to 100 readings saved to the meter

  - High, Low, Average, Standard Deviation

- Moisture Range:

  - 10%-28% MC Leather

- Temperature correction (°F / °C)

- Bluetooth® connectivity to EDGE® app

- Alarm set point - alerts to user-selected MC level

- Internal calibration check

- "Low Batt" warning with audio

- Auto off timer. Set to 1m, 4m or 10m

- Compatible with any Delmhorst external electrode

##### Meter Specifications

- Power: 2x AA Alkaline batteries

- Temperature Correction Range: 0-255° F (-18-124°C)

- QR code on meter for easy access to support materials and meter registration

- Size: meter only - 8.65in x 2.85in x 1.60in (21.97cm x 7.24cm x 4.06cm)

- Weight: meter only - 8.6oz (244gm)

- Hard plastic carrying case included

- 2-year warranty on manufacturer’s defects. Bonus warranty with on-line registration.

The Delmhorst EDGE® app

- Timestamp and geotag

- Data export to .csv format

- Save unlimited readings

The JLX-30, purchased individually, includes the JLX-30 meter and 324CAS-0111 carrying Case.  Order as JLX-30W/CS