JX-20 Moisture Meter

##### Features

- Large, custom display with auto backlight – easy to read under all conditions

- Modern case design with large, tactile buttons and E-Z grip handle

- On-screen statistics for up to 100 readings saved to the meter

  - High, Low, Average, Standard Deviation

- Measuring range:

  - 6%-60% Wood (Douglas Fir)

- Wood temperature correction (°F/°C)

- Species - JX-20 - 72 included

- Pins/electrode correction (insulated or non-insulated)

- Alarm set point - alerts to user-selected MC level

- Internal calibration check

- “Low Batt” warning with audio

- Auto off timer. Set to 1m, 4m or 10m

- Compatible with any Delmhorst external

##### Meter Specifications

- Power: 2x AA Alkaline batteries

- Temperature Correction Range: 0-255°F (-18-124°C)

- QR code on meter for easy access to support materials and meter registration

- Size: meter only - 8.65in x 2.85in x 1.60in (21.97cm x 7.24cm x 4.06cm)

- Weight: meter only - 8.6oz (244gm)

- Hard plastic carrying case included

- 2-year warranty on manufacturer’s defects. Bonus warranty with on-line registration

The JX-20, purchased individually, includes the JX-20 meter and 324CAS-0111 carrying Case.  Order as JX-20W/CS

The Wood Flooring Package includes the JX-20 meter, 324CAS-0112 carrying case, 26-ES electrode, and ten (10) contact pins.  Order as JX-20/P01

The Wood Flooring Scandinavia Package includes the JX-20/SC meter, 324CAS-0112 carrying case, 26-ES electrode, and ten (10) contact pins.  Order as JX-20/SC/P01